## Slide 1: American Energy Market Regulator (AEMR) Case Study
Date:
Presenter: Hande Tokgoz Utku

## Slide 2: Forced outages are the vast majority of all outages. # of total outages and the share of forced outages are increasing as well as the energy lost. Reducing the forced outages to at least the previous year’s share should be the priority.
Forced Outages – 65%
Total Outages – 1931
Energy Lost – 70300 MW
Source: AEMR DATASET (2016-2017)
Forced Outages– 75% (+10pp)
Total Outages- 2171 (+12%)
Energy Lost– 82007 MW (+17%)
2016
2017
In 2017 we ended up with 2171 total outages with 82000 MW energy loss across all types. The numbers increased 12% and 17% respectively.
Forced outages are the majority among all types, and monthly patterns show that we had far more forced outages in the second half of 2017 compared to the previous year. More maintenance in the months with less operation would be critical since the increase is mostly driven by Forced outages.
AURICON has the most outages in both years and AURICON, GW and MELK has the most energy lost due to outages. Each plant has a different characteristic of having outages (some have longer duration, some lose more energy during an outage, some has frequent outages). Creating different strategies for different situations would be the key to minimize the total energy loss.
Moving production over to facilities with lower average energy lost per outage might be a good solution to distribute risk.
Key Insights
Chart: 
| 2016 | 2017
Consequential | 181 | 127
Forced | 1264 | 1622
Opportunistic Maintenance (Planned) | 106 | 102
Scheduled (Planned) | 380 | 320
Number of Outages per Type

## Slide 3: Forced outages are 10 percentage points more in 2017 than 2016. Understanding the reasons is key.
% Forced Outages
Key Insights
The share of forced outages went from 65% to 75%, ten percentage points, from 2016 to 2017 respectively.
We should examine what contributes to this metric and reduce the forced outage share back to 2016 level.
Source: Southern Water Corp Financial Records (SAP) 2013-2015
Chart: % of Forced Outages
| 2016 | 2017
Total | 65.46 | 74.71

## Slide 4: Recently in 2017, second half of the year contributed to the number of overall outages the most. Scheduled maintenance during March-April would be very helpful.
# of Outages per Month – 2016 and 2017
Key Insights
Overall, August and November stand out as the months with most outages in average.
Second half of 2017, especially October and December, the number of outages doubled.
Since the energy usage tend to be high in those months, it would be a good idea to schedule more maintenance during the March and April, where the outages are consistently less.
Chart: 
| 2016 | 2017
1 | 191 | 103
2 | 227 | 150
3 | 136 | 109
4 | 135 | 127
5 | 173 | 170
6 | 169 | 200
7 | 146 | 211
8 | 194 | 212
9 | 124 | 168
10 | 124 | 276
11 | 200 | 198
12 | 112 | 247
Source: AEMR DATASET (2016-2017)

## Slide 5: Response time to forced outages increased by 40% in 2017 compared to 2016. Reducing repair time for this type of outage would be a good retroactive solution.
Avg MW Loss per Outage Type
Key Insights
Planned maintenance cause the most average energy lost.
The repair time to forced maintenance went from 13 hrs to 19 hours. Reducing the repair time would be a good solution when working on longer term solutions for forced outages.
Chart: 
| Consequential | Forced | Opportunistic Maintenance (Planned) | Scheduled (Planned)
2016 | 53.06 | 55.62 | 103.66 | 99.1
2017 | 51.03 | 50.56 | 84.4 | 85.47
Chart: 
| Consequential | Forced | Opportunistic Maintenance (Planned) | Scheduled (Planned)
2016 | 518.78 | 812.92 | 456.51 | 6582.32
2017 | 481.89 | 1144.09 | 387.35 | 8034.75
Avg Duration (Min) per OutageType
Source: AEMR DATASET (2016-2017)

## Slide 6: AURICON, GW and MELK had the most outages in both years. TRMOS and PUG spiked in 2017. Increasing maintenance for those facilities would be important.
# of Outages by Facility – 2016 and 2017
Key Insights
AURICON, PUG, TRMOS outages doubled in 2017. It would be key to understand the reason behind these.
Even though reduced in 2017, AUXC and GW still contributes a lot to outages.
AURICON and GW should be the priority to evaluate, then MELK and TRMOS would be next.
Chart: 
| AURICON | AUXC | COLLGAR | DNHR | ENRG | EUCT | GW | KORL | MCG | MELK | MUND | PJRH | PMC | PUG | STHRNCRS | TRMOS | TSLA_MGT | WGUTD
2016 | 208.0179 | 206.0392 | 28.9991 | 1 | 21.0014 | 11.0017 | 316.993 | 53.0017 | 1 | 157.0068 | 4 | 81.0015 | 69.002 | 23.9985 | 13 | 65.0016 | 2 | 2
2017 | 490.026 | 119.9973 | 45.0034 | 1 | 6.9996 | 3 | 226.9974 | 76.0058 | 12.0011 | 176.9988 | 15.0011 | 72.0024 | 40.0003 | 135 | 18.0012 | 171.9805 | 4.0005 | 8.0004
Source: AEMR DATASET (2016-2017)

## Slide 7: ENRG, MELK and COLLGAR had the longest average outage duration in 2017.
Outage Duration by Facility – 2016 and 2017
Key Insights
Understanding the reasons for long outage times and reducing it is very important. MELK outage durations almost tripled in 2017.
More analysis to understand what drives these long and short outage durations would be valuable. We can use the best practices applied in EUCT to reduce outage durations in other facilities.
Chart: 
| 2016 | 2017
AURICON | 0.32 | 0.24
AUXC | 0.09 | 0.3
COLLGAR | 1.59 | 3.09
DNHR | 0.25 | 0.26
ENRG | 7.16 | 6.42
EUCT | 4.04 | 0.27
GW | 0.97 | 1.02
KORL | 2.12 | 1.49
MCG | 0.81 | 0.17
MELK | 2.19 | 5.82
MUND | 1.65 | 0.52
PJRH | 1.91 | 1.85
Source: AEMR DATASET (2016-2017)

## Slide 8: AURICON, GW and MELK has the most energy lost in both years. PMC has a very high average energy loss per outage.
Sum Of Energy Loss per Facility (Top) || Avg Energy Loss per Facility per Outage
Key Insights
Due to the high number of outages, the total energy loss of AURICON and GW has been very high especially in 2017.
PMC, even though had low number of outages, have very high average energy loss per outage, which caused the facility to lose high amounts of energy.
Average energy lost per outage for GW has almost doubled.
We could move production from the facilities with high average energy loss to the ones with low average energy loss such as DNHR, AUXC, EUCT.
Chart: 
| AURICON | AUXC | COLLGAR | DNHR | ENRG | EUCT | GW | KORL | MCG | MELK | MUND | PJRH | PMC | PUG | STHRNCRS | TRMOS | TSLA_MGT | WGUTD
2016 | 10696.28 | 2734.14 | 4320.86 | 1.44 | 1182.8 | 64.8 | 15751.38 | 4040.32 | 55 | 13771.07 | 147.2 | 5881.52 | 9093.09 | 815.47 | 299 | 1232.43 | 160 | 54
2017 | 21639.55 | 1768.76 | 2787.06 | 1.44 | 191.86 | 64.8 | 19326.56 | 4679.68 | 563.33 | 10285.4 | 398.58 | 4839.28 | 5648.44 | 4112.1 | 292.7 | 5016.67 | 169.9 | 221.29
Chart: 
| AURICON | AUXC | COLLGAR | DNHR | ENRG | EUCT | GW | KORL | MCG | MELK | MUND | PJRH | PMC | PUG | STHRNCRS | TRMOS | TSLA_MGT | WGUTD
2016 | 51.42 | 13.27 | 149 | 1.44 | 56.32 | 5.89 | 49.69 | 76.23 | 55 | 87.71 | 36.8 | 72.61 | 131.78 | 33.98 | 23 | 18.96 | 80 | 27
2017 | 44.16 | 14.74 | 61.93 | 1.44 | 27.41 | 21.6 | 85.14 | 61.57 | 46.94 | 58.11 | 26.57 | 67.21 | 141.21 | 30.46 | 16.26 | 29.17 | 42.47 | 27.66
Source: AEMR DATASET (2016-2017)